FRD001

TITLE

- Patient Identification Band

FIELD OF THE DISCLOSED TECHNOLOGY

- The disclosed technology relates generally to patient care.  More specifically, the disclosed technology relates to patient identification bands for storing patient identifying information while maintaining the patient’s privacy.

BACKGROUND OF THE DISCLOSED TECHNOLOGY

- Patients in various settings, such as hospital and clinic settings, need to be easily identifiable to medical personnel, in order to ensure that the right treatment at the right dose is being given to the right patient, at the right time, via the right route. As such, most patients carry, or wear, an identification device, such as a wrist band, a patient badge, or other suitable identification device, which has written thereon or included therein identifying patient information for the benefit of the treating medical personnel.

- Typically, the identifying information stored on the identification device includes the patient’s demographic information, such as the patient’s name, date of birth, identification number such as a social security number of passport number. However, printing of the patient’s personal information on the identification device often enables non-medical personnel and/or passersby to see such private information, resulting in loss of privacy to the patient.

- Additionally, it would be advantageous to medical personnel and other caretakers of a patient to be able to easily access the patient’s personal medical information and treatment information, without the risk of confusing the information with that of another patient, and without the need to access the entire medical file for the patient. As such, it would be advantageous for the identification device to additionally include the patient’s personal medical information, such as indications of the patient’s allergies or chronic diseases, and treatment information such as the patient’s treatment preferences (e.g. a request to draw blood only from one arm), the name of the attending doctor, date of admittance, and the like. However, existing patient identification bands are narrow, and do not enable inclusion of so much information in the limited space available on the patient band.

- Accordingly, there exists the need for a patient identification device which would be able to include the patient’s personal medical information, demographic information, and treatment information, in a way that maintains the patient’s privacy but is still easily accessible to medical personnel and caretakers of the patient.

SUMMARY OF THE DISCLOSED TECHNOLOGY

- The disclosed technology described herein addresses a need unfulfilled in the prior art by providing a patient identification band large enough to store the patient’s personal medical information, demographic information, and treatment information, while maintaining the patient’s privacy.

- In accordance with some aspects of an embodiment of the teachings herein there is provided a patient band, including a band portion configured to be worn by a patient such that it extends substantially between a first joint and a second joint, the band portion including a band information display portion and a flap portion attached to the band portion at a first side of the flap portion and configured to removably connect to the band portion at a second side of the flap via connectors, the flap portion placed to cover the band information display portion and including a flap information display portion, wherein private information of the patient is provided in the band information display portion and public information of the patient is provided in the flap information display portion.

- In some embodiments, the band portion is configured to be worn around the patient’s arm, and to extend substantially from the patient’s elbow to the patient’s wrist. In some embodiments, the band portion is configured to be worn around the patient’s biceps and to extend substantially from the patient’s elbow to the patient’s armpit. In some embodiments, the band portion is configured to be worn around a portion of the patient’s leg, and to extend substantially from the patient’s knee to the patient’s ankle.

- In some embodiments, during wearing of the band portion, the second side of the flap portion is attached to the band portion using the connectors, thereby hiding the private information located in the band information display portion.

- In some embodiments, for access to the band information display portion, the second side of the flap portion is detached from the band portion by detaching the connectors, thereby exposing the band information display portion and the private information provided therein.

- In some embodiments, the flap information display portion includes an outer display portion, facing the outside of the band portion, and an inner display portion which, when the flap portion is connected to the band portion via the connectors, faces the band information display portion. In some such embodiments, the public information of the patient is provided in the outer display portion, and private information of the patient is provided in the inner display portion.

- In some embodiments, the private information includes demographic information of the patient, including at least one of the patient’s name, the patient’s date of birth, and the patient’s identification number. In some embodiments, the private information includes treatment information of the patient, including at least one of a listing of the patient’s attending physician, contact information for the attending physician, a medical record number for the patient, and information regarding the patient’s special care needs.

- In some embodiments, the public information includes medical information for the patient, including at least one of a listing of patient allergies, living will information, Do Not Intubate (DNI) information for the patient, and Do Not Resuscitate (DNR) information for the patient. In some embodiments, the public information also includes at least one of the patient’s initials, date of insertion of a current IV, location of the current IV, identification of medical personnel who inserted the current IV, the patient’s medical facility room number, and a scannable barcode associated with the patient’s private information and/or medical record.

- In some embodiments, at least one of the band information display portion and the flap information display portion comprises multiple information display regions, each displaying a different type of information and/or a different information item.

- In accordance with an aspect of some embodiments of the teachings herein there is provided a method for identifying a patient, including placing a wearable patient band on a patient’s body substantially between a first joint and a second joint, the patient band including a band portion including a band information display portion and a flap portion attached to the band portion at a first side of the flap portion and removably connected to the band portion at a second side of the flap via connectors, the flap portion placed to cover the band information display portion and including a flap information display portion, providing private information of the patient in the band information display portion, and providing public information of the patient in the flap information display portion.

- In some embodiments, the flap information display portion includes an outer information display portion and an inner information display portion, the providing public information comprises providing the public information in the outer information display portion. In some such embodiments, the method also comprises providing private information also in the inner information display portion.

- In some embodiments, the method also comprises accessing the private information by detaching the connectors and lifting the flap portion, thereby exposing the band information display portion.

- In some embodiments, the placing the patient band comprises placing the band portion around the patient’s arm, substantially between the patient’s elbow to the patient’s wrist. In some embodiments, the placing the patient band comprises placing the band portion around the patient’s biceps, substantially between the patient’s elbow to the patient’s armpit. In some embodiments, the placing the patient band comprises placing the band portion around the patient’s leg, substantially between the patient’s knee and the patient’s ankle.

BRIEF DESCRIPTION OF THE DRAWINGS

- Figure 1 is a high level drawing of a patient identification band according to an embodiment of the teachings herein, in a first visibility orientation.

- Figure 2 is a high level drawing of the patient identification band of Figure 1 in a second visibility orientation.

- Figure 3 is a high level drawing of a patient identification band according to an embodiment of the teachings herein, in a first visibility orientation and indicating information bearing regions.

- Figure 4 is a high level drawing of the patient identification band of Figure 3 in a second visibility orientation and indicating information bearing regions.

- A better understanding of the disclosed technology will be obtained from the following detailed description of the preferred embodiments taken in conjunction with the drawings and the attached claims.

DETAILED DESCRIPTION OF EMBODIMENTS OF THE DISCLOSED TECHNOLOGY

- Embodiments of the disclosed technology comprise a patient identification device for identifying a patient while maintaining the patient’s privacy, and method of use of the identification device. The device is configured to be worn by a patient, and includes private information of the patient which is concealed and public information which is readily accessible by observers of the device.

- Referring now to the drawings, which represent a patient band including a visible portion for public patient information and a concealed portion for more private patient information, the description of same is as follows.

- Figures 1 and 3 show a high level drawing of a patient identification band 100 according to an embodiment of the teachings herein, in a first visibility orientation.  As seen, the patient identification band 100 is placed on a user’s hand, substantially between two joints. In the illustrated embodiment, the upper extremity 110 of the band 100 is located substantially at the elbow 10 and the lower extremity 112 of band 100 is located substantially at the wrist 22. Though the patient band 100 is illustrated as placed on the patient’s arm, it is appreciated that the band 100 may be placed in any suitable location on the patient’s body, such as on the patient’s upper arm substantially between the armpit and the elbow, or on the patient’s leg substantially between the knee and the ankle. Placement of the band 100 on body portions other than the wrist or arm are particularly advantageous when in patients for whom the band cannot be placed on the arm or wrist, such as amputees or patients suffering from severe burns.

- In the context of the present application, the phrase “substantially between two joints” or “substantially between a first joint and a second joint” refers to the band being placed between two anatomical joints located between bones, and spanning most of the area between the two anatomical joints, such that the band does not cover at most four inches of the area between the two joints, at most two inches of the area between the two joints, or at most one inch of the area between the two joints.

- The band 100 may be formed of any suitable material, such as plastic, woven fabric, knitted fabric, and the like, and in some embodiments is formed of a “breathing” material which allows exchange of air between the skin below the band 100 and the ambient environment and prevents sweating and discomfort from being caused by the band 100.

- The band 100 is typically secured on the patient’s body using suitable securing means (not shown), such as Velcro®, hook and loop fasteners, buttons, button fasteners, buckles, and the like. In some embodiments, the band 100 is irremovably secured on the patient’s body, such that the band 100 can only be removed from the patient by destroying the band. In other embodiments, the band 100 is removably secured, such that the patient or a caregiver may occasionally temporarily remove the band, for example when taking a shower.

- Reference is now made also to Figures 2 and 4, which are high level drawing of the patient identification band 100 in a second visibility orientation. As seen clearly in Figures 2 and 4, patient identification band 100 includes a band portion 200 which surrounds the patient’s arm, and a flap portion 101, which is attached to the band portion 200 at one side of the flap indicated by reference numeral 103. The flap portion 101 may be connected to band portion 200 at the second side of the flap, indicated by reference numeral 105, using connectors 300. Connectors 300 may be any suitable connectors, such as Velcro®, snaps, buttons, hook and loop connectors, and the like. As seen, flap 101 covers substantially the entire length of band portion 200, from upper extremity 110 to lower extremity 112 of band 100.

- Band portion 200 includes one or more band information display portions 202 and 204, positioned such that the information displayed therein is concealed by flap portion 101 when the flap portion is connected to band portion 200 using connectors 300, as in Figures 1 and 3.

- Returning to Figures 1 and 3, flap portion 101 includes one or more outer flap information display portions 102, 104, 106, and 108, which are located on the outer surface of flap 101 and are easily visible when the flap portion 101 is connected to band portion 200 using connectors 300. In some embodiments, such as the embodiment illustrated in Figure 2, in addition to the outer display portions 102, 104, 106 and 108, flap portion 101 also includes one or more inner flap information display portions 122, 124, and 126, located on the inner surface of flap 101 such that the information displayed therein is concealed when flap portion 101 is connected to band portion 200 using connectors 300, as in Figures 1 and 3.

- It is a particular feature of the present invention that private information about the patient, or information which the patient wants to keep private, is displayed in the band information display portions 202 and 204 and/or in the inner flap information display portions 122, 124, and 126 which may be concealed from passersby and hospital employees who need not know the personal information by connecting flap 101 to band 200 using connectors 300. Public information about the patient is displayed in the outer flap information display portions 102, 104, 106, and 108, which are easily visible when flap 101 is closed.

- In the context of the present application, the terms “private information” and “more private information” refer to any information which identifies the patient, such as information that could enable a passerby to steal the patient’s identity, or to any information which relates to the specific treatment required by the patient, such that placement of that information on a visible place would be a breach of patient confidentiality legislation, such as the U.S. Health Insurance Portability and Accountability Act of 1996, known as HIPAA. In the disclosure herein, the terms “private information” and “more private information” are used interchangeably and are considered fully equivalent to one another.

- In some embodiments, the private patient information includes demographic information of the patient, such as the patient’s name illustrated in information display portion 122 and the patient’s date of birth illustrated in information display portion 124. In some embodiments the private demographic information may also include the patient’s address, identification number such as a passport number or social security number, the contact information for a caregiver of the patient (particularly when the patient is a child or is incapable of caring for themselves), and any other suitable demographic information. In some embodiments the private patient information includes patient treatment information, such as the patient’s medical record number illustrated in information display portion 126, the name and/or contact information of the patient’s attending physician illustrated in information display portion 202, and/or special care needs of the patient illustrated in information display portion 204. Special care needs of the patient may include any information regarding the patient’s treatment of which the treating medical personnel must be aware, such as an indication of a fall risk, tendency to wander, dementia, depression, tendency to remove treatment devices such as tubes, a refusal to receive blood transfusions, a refusal to receive organ donations, and the like.

- In the context of the present application, the terms “public information” and “more public information” refer to any information which does not uniquely identify the patient and may not cause damage to the patient if it is known by passersby, such as the patient’s initials or hospital room number, and to medical or treatment information which may be required by non-medical personnel, for example to ensure the patient’s safety. The terms “public information” and “more public information” may also refer to information not protected by patient confidentiality legislation such as HIPAA. In the disclosure herein, the terms “public information” and “more public information” are used interchangeably and are considered fully equivalent to one another.

- In some embodiments, the more public patient information includes public demographic information such as the patient’s initials as illustrated in information display portion 106. The more public information may also include medical and/or treatment information which may be required by non-medical personnel or by non-treating medical personnel. In some embodiments, the public patient information includes information regarding allergies from which the patient suffers as illustrated in information display portion 104, so as to ensure that the patient is not given food or medications which would trigger and allergic reaction and may endanger his or her life. In some embodiments, the public patient information includes code status, or instructions regarding the patient’s treatment preferences, such as living will information, and a DNR (Do Not Resuscitate) and/or a DNI (Do Not Intubate) indication, illustrated in information display portion 102.

- In some embodiments, the more public patient information also includes treatment information which may be required by nurses or paramedical personnel treating the patient. In some embodiments, the public patient information includes information about the current IV of the patient, illustrated in information display portion 108. The IV information may include the date of insertion of the current IV, an identification of the person who inserted the current IV, and/or the location of the current IV, and may be provided in readable format or in an encoded format. In some embodiments, the more public information also includes information to be used if the patient becomes lost, such as the patient’s room number in the medical facility or a contact number for the patient’s caregiver. This is particularly advantageous for patients who may not remember how to get back to their room in the medical facility, such as patients suffering from dementia or from Alzheimer’s disease or children.

- It is appreciated that any other suitable private information may be included in private information display portions 202, 204, 122, 124, and 126, and that additional concealed information display portions may be included in patient band 100. Similarly, any other suitable information may be included in more public information display portions 102, 104, 106, and 108, and that additional visible information display portions may be included in patient band 100.

- While the disclosed technology has been taught with specific reference to the above embodiments, a person having ordinary skill in the art will recognize that changes can be made in form and detail without departing from the spirit and the scope of the disclosed technology.  The described embodiments are to be considered in all respects only as illustrative and not restrictive.  All changes that come within the meaning and range of equivalency of the claims are to be embraced within their scope.  Combinations of any of the methods, systems, and devices described hereinabove are also contemplated and within the scope of the disclosed technology.

CLAIMS

1.	A patient band, comprising:

a band portion configured to be worn by a patient such that it extends substantially between a first joint and a second joint, the band portion including a band information display portion; and

a flap portion attached to said band portion at a first side of said flap portion and configured to removably connect to said band portion at a second side of said flap via connectors, said flap portion placed to cover said band information display portion and including a flap information display portion,

wherein private information of the patient is provided in the band information display portion and public information of the patient is provided in the flap information display portion.

2.	The patient band of claim 1, wherein said band portion is configured to be worn around the patient’s arm, and to extend substantially from the patient’s elbow to the patient’s wrist.

3.	The patient band of claim 1, wherein said band portion is configured to be worn around the patient’s biceps and to extend substantially from the patient’s elbow to the patient’s armpit.

4.	The patient band of claim 1, wherein said band portion is configured to be worn around a portion of the patient’s leg, and to extend substantially from the patient’s knee to the patient’s ankle.

5.	The patient band of claim 1, wherein, during wearing of said band portion, said second side of said flap portion is attached to said band portion using said connectors, thereby hiding said private information located in said band information display portion.

6.	The patient band of claim 1, wherein, for access to the band information display portion, said second side of said flap portion is detached from said band portion by detaching said connectors, thereby exposing the band information display portion and said private information provided therein.

7.	The patient band of claim 1, wherein said flap information display portion includes an outer display portion, facing the outside of said band portion, and an inner display portion which, when said flap portion is connected to said band portion via said connectors, faces said band information display portion.

8.	The patient band of claim 7, wherein said public information of the patient is provided in said outer display portion, and private information of the patient is provided in the inner display portion.

9.	The patient band of claim 1, wherein said private information includes demographic information of the patient, including at least one of the patient’s name, the patient’s date of birth, and the patient’s identification number.

10.	The patient band of claim 1, wherein said private information includes treatment information of the patient, including at least one of a listing of the patient’s attending physician, contact information for said attending physician, a medical record number for the patient, and information regarding the patient’s special care needs.

11.	The patient band of claim 1, wherein said public information includes medical information for the patient, including at least one of a listing of patient allergies, living will information, Do Not Intubate (DNI) information for the patient, and Do Not Resuscitate (DNR) information for the patient.

12.	The patient band of claim 11, wherein said public information also includes at least one of the patient’s initials, date of insertion of a current IV, location of said current IV, identification of medical personnel who inserted said current IV, the patient’s medical facility room number, and a scannable barcode associated with the patient’s private information and/or medical record.

13.	The patient band of claim 1, wherein at least one of said band information display portion and said flap information display portion comprises multiple information display regions, each displaying a different type of information and/or a different information item.

14.	A method for identifying a patient, comprising:

placing a wearable patient band on a patient’s body substantially between a first joint and a second joint, the patient band including:

a band portion including a band information display portion and

a flap portion attached to said band portion at a first side of said flap portion and removably connected to said band portion at a second side of said flap via connectors, said flap portion placed to cover said band information display portion and including a flap information display portion;

providing private information of the patient in said band information display portion; and

providing public information of the patient in said flap information display portion.

15.	The method of claim 14, wherein said flap information display portion includes an outer information display portion and an inner information display portion, said providing public information comprises providing said public information in said outer information display portion.

16.	The method of claim 15, also comprising providing private information also in said inner information display portion.

17.	The method of claim 14, also comprising accessing said private information by detaching said connectors and lifting said flap portion, thereby exposing said band information display portion.

18.	The method of claim 14, wherein said placing said patient band comprises placing said band portion around the patient’s arm, substantially between the patient’s elbow to the patient’s wrist.

19.	The method of claim 14, wherein said placing said patient band comprises placing said band portion around the patient’s biceps, substantially between the patient’s elbow to the patient’s armpit.

20.	The method of claim 14, wherein said placing said patient band comprises placing said band portion around the patient’s leg, substantially between the patient’s knee and the patient’s ankle.

ABSTRACT OF THE DISCLOSURE

- There is provided a patient band including a band portion configured to be worn by a patient such that it extends substantially between a first joint and a second joint, the band portion including a band information display portion, and a flap portion attached to the band portion at a first side of the flap portion and configured to removably connect to the band portion at a second side of the flap via connectors, the flap portion placed to cover the band information display portion and including a flap information display portion, wherein private information of the patient is provided in the band information display portion and public information of the patient is provided in the flap information display portion.